## Sheet1
SOLAR POWER MONITORING SYSTEM
|  | DATE: | DD-MM-YYYY |  |  | TIME: | HH-MM-SS
Unit Rate Peak Hours = _______ |  |  |  | This parameters shall be fed by the user
Unit Rate Off-Peak Hours = _______
GRID | [8 empty] | POWER GENERATION | [8 empty] | LOAD |  |  | Bill Saved | Bill Saved
V1(V) | V2(V) | V3(V) | A1(A) | A2(A) | A3(A) | P1(KW) | P2(KW) | P3(KW) | PG_V1(V) | PG_V2(V) | PG_V3(V) | PG_A1(A) | PG_A2(A) | PG_A3(A) | PG_P1(KW) | PG_P2(KW) | PG_P3(KW) | L_P1(KWh) | L_P2(KWh) | L_P3(KWh) | (Peak Hours) | (Off Peak Hours)
208 | 210 | 210 | 10.2 | 3.14 | 8.5 | 2.1216 | 659.4 | 1785 | 201 | 216 | 198 | 10.6 | 3.8 | 9.5 | 2.1306 | 820.8 | 1881 | 3.5 | 5.6 | 5.3
220 | 210 | 211 | 10.5 | 2.1 | 6.4 | 2310 | 441 | 1350.4 | 220 | 210 | 211 | 10.5 | 2.1 | 6.4 | 2310 | 441 | 1350.4 | 4.5 | 6.6 | 6.3
223 | 211 | 209 | 10.5 | 1.1 | 2.5 | 2341.5 | 232.1 | 522.5 | 223 | 211 | 209 | 10.5 | 1.1 | 2.5 | 2341.5 | 232.1 | 522.5 | 5.5 | 7.6 | 7.3
210 | 213 | 215 | 10.6 | 15.8 | 2.54 | 2226 | 3365.4 | 546.1 | 210 | 213 | 215 | 10.6 | 15.8 | 2.54 | 2226 | 3365.4 | 546.1 | 6.5 | 8.6 | 8.3
201 | 212 | 214 | 6.2 | 4.1 | 66.5 | 1246.2 | 869.2 | 14231 | 201 | 212 | 214 | 6.2 | 4.1 | 66.5 | 1246.2 | 869.2 | 14231 | 7.5 | 9.6 | 9.3
204 | 210 | 208 | 2.2 | 70.5 | 100.1 | 448.8 | 14805 | 20820.8 | 204 | 210 | 208 | 2.2 | 70.5 | 100.1 | 448.8 | 14805 | 20820.8 | 8.5 | 10.6 | 10.3
206 | 209 | 213 | 2.8 | 2 | 9.5 | 576.8 | 418 | 2023.5 | 206 | 209 | 213 | 2.8 | 2 | 9.5 | 576.8 | 418 | 2023.5 | 9.5 | 11.6 | 11.3
207 | 210 | 211 | 2.7 | 9.6 | 52.2 | 558.9 | 2016 | 11014.2 | 207 | 210 | 211 | 2.7 | 9.6 | 52.2 | 558.9 | 2016 | 11014.2 | 10.5 | 12.6 | 12.3
200 | 210 | 211 | 8.7 | 7.1 | 11.6 | 1740 | 1491 | 2447.6 | 200 | 210 | 211 | 8.7 | 7.1 | 11.6 | 1740 | 1491 | 2447.6 | 11.5 | 13.6 | 13.3
210 | 211 | 213 | 5.5 | 4.5 | 14.5 | 1155 | 949.5 | 3088.5 | 210 | 211 | 213 | 5.5 | 4.5 | 14.5 | 1155 | 949.5 | 3088.5 | 12.5 | 14.6 | 14.3
209 | 205 | 210 | 4.9 | 8.4 | 2.6 | 1024.1 | 1722 | 546 | 209 | 205 | 210 | 4.9 | 8.4 | 2.6 | 1024.1 | 1722 | 546 | 13.5 | 15.6 | 15.3
216 | 206 | 211 | 8.5 | 9.2 | 1 | 1836 | 1895.2 | 211 | 216 | 206 | 211 | 8.5 | 9.2 | 1 | 1836 | 1895.2 | 211 | 14.5 | 16.6 | 16.3
218 | 221 | 208 | 2.1 | 4.5 | 1.4 | 457.8 | 994.5 | 291.2 | 218 | 221 | 208 | 2.1 | 4.5 | 1.4 | 457.8 | 994.5 | 291.2 | 15.5 | 17.6 | 17.3
219 | 220 | 207 | 2.4 | 4.1 | 8.2 | 525.6 | 902 | 1697.4 | 219 | 220 | 207 | 2.4 | 4.1 | 8.2 | 525.6 | 902 | 1697.4 | 16.5 | 18.6 | 18.3
210 | 208 | 209 | 8.6 | 1.6 | 2.4 | 1806 | 332.8 | 501.6 | 210 | 208 | 209 | 8.6 | 1.6 | 2.4 | 1806 | 332.8 | 501.6 | 17.5 | 19.6 | 19.3
211 | 201 | 210 | 7.9 | 82.1 | 9.5 | 1666.9 | 16502.1 | 1995 | 211 | 201 | 210 | 7.9 | 82.1 | 9.5 | 1666.9 | 16502.1 | 1995 | 18.5 | 20.6 | 20.3
212 | 210 | 211 | 20 | 4.6 | 2.4 | 4240 | 966 | 506.4 | 212 | 210 | 211 | 20 | 4.6 | 2.4 | 4240 | 966 | 506.4 | 19.5 | 21.6 | 21.3
205 | 209 | 221 | 12 | 3.2 | 66.5 | 2460 | 668.8 | 14696.5 | 205 | 209 | 221 | 12 | 3.2 | 66.5 | 2460 | 668.8 | 14696.5 | 20.5 | 22.6 | 22.3
230 | 206 | 212 | 14.5 | 1.5 | 2.1 | 3335 | 309 | 445.2 | 230 | 206 | 212 | 14.5 | 1.5 | 2.1 | 3335 | 309 | 445.2 | 21.5 | 23.6 | 23.3
210 | 216 | 212 | 15.2 | 4.4 | 1.2 | 3192 | 950.4 | 254.4 | 210 | 216 | 212 | 15.2 | 4.4 | 1.2 | 3192 | 950.4 | 254.4 | 22.5 | 24.6 | 24.3
212 | 216 | 214 | 2.3 | 8.8 | 1.1 | 487.6 | 1900.8 | 235.4 | 212 | 216 | 214 | 2.3 | 8.8 | 1.1 | 487.6 | 1900.8 | 235.4 | 23.5 | 25.6 | 25.3
215 | 215 | 214 | 2.6 | 9.8 | 66.45 | 559 | 2107 | 14220.3 | 215 | 215 | 214 | 2.6 | 9.8 | 66.45 | 559 | 2107 | 14220.3 | 24.5 | 26.6 | 26.3
219 | 214 | 218 | 2.7 | 5.5 | 8.4 | 591.3 | 1177 | 1831.2 | 219 | 214 | 218 | 2.7 | 5.5 | 8.4 | 591.3 | 1177 | 1831.2 | 25.5 | 27.6 | 27.3
217 | 210 | 220 | 2.6 | 4.5 | 9.4 | 564.2 | 945 | 2068 | 217 | 210 | 220 | 2.6 | 4.5 | 9.4 | 564.2 | 945 | 2068 | 26.5 | 28.6 | 28.3
210 | 211 | 213 | 6.3 | 6.5 | 135.5 | 1323 | 1371.5 | 28861.5 | 210 | 211 | 213 | 6.3 | 6.5 | 135.5 | 1323 | 1371.5 | 28861.5 | 27.5 | 29.6 | 29.3
212 | 213 | 215 | 6.5 | 12.5 | 182 | 1378 | 2662.5 | 39130 | 212 | 213 | 215 | 6.5 | 12.5 | 182 | 1378 | 2662.5 | 39130 | 28.5 | 30.6 | 30.3
212 | 220 | 214 | 6.9 | 22.6 | 2.56 | 1462.8 | 4972 | 547.84 | 212 | 220 | 214 | 6.9 | 22.6 | 2.56 | 1462.8 | 4972 | 547.84 | 29.5 | 31.6 | 31.3
210 | 210 | 210 | 8 | 5.5 | 99 | 1680 | 1155 | 20790 | 210 | 210 | 210 | 8 | 5.5 | 99 | 1680 | 1155 | 20790 | 30.5 | 32.6 | 32.3
←